## Sheet1
AssetGroup | FEATURE
Building | ADM_ADR
Cabinet boundary | LV_DP
Controls assembly Low voltage | LV_IO
Controls assembly Low voltage | LV_SER
Duct boundary | ADM_CDT
Duct boundary | DT_SEG
Electric network route Low voltage | CAB_NUMBER
Electric network route Medium voltage | CAB_NUMBER
Electric network route Transmission | CAB_NUMBER
Electric substation Medium voltage | HV_SUB
Electric switching location Low voltage | LV_DP
Low voltage Busbar | LV_IO
Low voltage Busbar | LV_ISO
Low voltage Busbar | LV_PAN
Low voltage Busbar tap | LV_PAN
Low voltage Busbar tap | LV_SER
Low voltage Cable joint | TER_LV_CAB
Low voltage Cable joint | LV_JNT
Low voltage Cable joint | LV_SCH
Low voltage Circuit breaker | LV_IO
Low voltage Conductor | LV_ISO
Low voltage Conductor | ADM_SEC
Low voltage Conductor | LV_CAB
Low voltage Conductor | LV_DIR
Low voltage Conductor | LV_INT
Low voltage Conductor | LV_OHL
Low voltage Conductor | LV_SEC
Low voltage Connector line | LV_SWG
Low voltage Connector line | LV_CAB
Low voltage Connector Line | LV_ISO
Low voltage Customer service point | LV_DIR
Low voltage Disconnector | LV_IO
Low voltage Disconnector | LV_ISO
Low voltage Disconnector | LV_SWG
Low voltage Fuse | LV_IO
Low voltage Fuse | LV_SER
Low voltage Fuse-Disconnector | LV_IO
Low voltage Fuse-Disconnector | LV_SWG
Low voltage Line end | LV_SCH
Low voltage Line end | LV_TER
Low voltage Separable connector | LV_IO
Low voltage Separable connector | LV_SER
Low voltage Separable connector | LV_SWG
Low voltage Source point | LV_DIR
Low voltage Tap-off | LV_JNT
Low voltage Transformer end | LV_TRF
Manhole point | DT_PIT
Medium voltage 2 winding power transformer | HV_TRF
Medium voltage Busbar | HV_BUS
Medium voltage Cable joint | TER_HV_CAB
Medium voltage Cable joint | HV_JNT
Medium voltage Circuit breaker | HV_BKR
Medium voltage Circuit breaker | HV_SWG
Medium voltage Circuit breaker primary | HV_BKR
Medium voltage Conductor | HV_CAB
Medium voltage Conductor | HV_DIR
Medium voltage Conductor | HV_SEC
Medium voltage Connector line | HV_BKR
Medium voltage Connector line | HV_SWG
Medium voltage Connector line | HV_TRF
Medium voltage Customer service point | HV_DIR
Medium voltage Fuse-switch | HV_SWG
Medium voltage Line end | HV_TER
Medium voltage Load break switch | HV_SWG
Medium voltage Meter point | HV_SWG
Medium voltage Off-page Conductor reference | ADM_OPG
Medium voltage Source point | HV_DIR
Pilot Cable end | PT_TER
Pilot Cable joint | PT_JNT
Pilot Cable segment | PT_SEC
Pilot Network route | CAB_NUMBER
Pilot Survey point | PT_SEC_DEPTH
Pole | LV_POL
Solkor Cable joint | SK_JNT
Solkor Line end | SK_TER
Solkor Line Segment | SK_SEC
Survey point | DT_PIT_DEPTH
Survey point | DT_SEG_DEPTH
Survey point | HV_SEC_DEPTH
Survey point | LV_SEC_DEPTH
Survey point | SK_SEC_DEPTH
Survey point | TR_SEC_DEPTH
Transmission Cable joint | TR_JNT
Transmission Conductor | TR_SEC
Transmission Line end | TR_TER
Tube | DT_BORE
Underground structure boundary | DT_PIT